## Inventory
Sl No | Item Name | Brand | Model | Power/Capacity | Qty | TWP | Product Location | Prices | Remarks
1 | Solar Panel Bi | Jinko Solar | JKM58SN-72HL4-BDV | 585wp | 605 | 585 | Shed |  | https://jinkosolar.eu/wp-content/uploads/JKM560-580N-72HL4-BDV-F3-EN.pdf
2 | solar panel | SolarE | Se185-72M | 185Wp | 15 | 185 | Shed |  | https://www.solarhub.com/product-catalog/pv-modules/3687-SE185-72M-Solar-Enertech-Co-Ltd
| Solar Panel Bi | Canadian Solar | CS6.2-66TB-620 | 620wp | 11 | 620 | Shed |  | https://static.csisolar.com/wp-content/uploads/2022/09/04143133/CS-Datasheet-TOPBiHiKu6_CS6.2-66TB_v1.2_EN.pdf
| Solar Panel Bi | Canadian Solar | CS6W-585TB-AG | 585wp | 17 | 585 | Shed |  | https://static.csisolar.com/wp-content/uploads/2022/09/06160941/CS-Datasheet-TOPBiHiKu6-TOPCon_CS6W-TB-AG_v1.8_EN.pdf
| solar panel | Canadian solar | cs6w-550ms | 550wp | 21 | 550 | shed |  | https://static.csisolar.com/wp-content/uploads/2020/06/21135332/CS-Datasheet-HiKu6_CS6W-MS_v2.1_EN.pdf
| Solar Panel Bi | Jinko Solar | Jkm715n-66hl5-bdv | 715wp | 314 | 715 | Shed |  | https://jinkosolar.eu/wp-content/uploads/2025/04/JKM710-735N-66HL5-BDV-Z3-EU.pdf
| Solar Panel Bi | AESOLAR | AE METEOR AE730CME-132BDS | 730wp | 576 | 730 | RDF |  | https://api.ae-solar.com/uploads/AE_CME_132_BDS_710_W_730_W_Ver26_1_1_aabb6ff925.pdf
| Solar Panel | TrinaSolar | TSM-405DE15H(II) | 405wp | 14 | 405 | Shed |  | https://static.trinasolar.com/sites/default/files/Datasheet_TallmaxM_DE15H%28II%29_NA_2020_RD_B.pdf
| Solar Panel | JASOLAR | JAM72S30-550/MR | 550wp | 6 | 550 | Shed |  | https://www.jasolar.com/uploadfile/2021/0706/20210706053524693.pdf
| Solar Panel | Ja solar | JAP72S01-330/SC | 330wp | 1 | 550 | Shed |  | https://solar-solution.co.za/product/jap72s01-330-sc/
| Solar Panel | TrinaSolar | TSM-330PE14A | 330wp | 21 | 330 | Shed |  | https://www.alibaba.com/product-detail/Tsm330Pe14A-Trina-Panel-Solar-Duomax-Twin_1600509211089.html
| Solar Panel | Sherpa | SH-150-M | 150wp | 494 | 150 | WH1
| Solar Panel | Sherpa | SH-100-M | 100wp | 1122 | 100 | WH1
| Solar Panel | Sherpa | SH-65-M | 65wp | 49 | 65 | WH1
| Solar Panel | Sherpa | SH-85-M | 85wp | 19 | 85 | WH1
| Solar Panel | Sherpa | SH-130-M | 130wp | 485 | 130 | WH1
| Solar Pump Inverter | Sherpa | SPINV-5D5K-3P40 | 5.5 kw | 38 |  | WH1
| Solar Pump Inverter | Veichi | SI30-D5-7R5G-R | 7.5 kw | 6 |  | WH1
| Solar Pump Inverter | Veichi | SI30-D5-011G-R | 11 kw | 6 |  | WH1
| Solar Pump Inverter | Veichi | SI23-D5-030G-A | 30 kw | 8 |  | WH1
| Solar Pump Inverter | Veichi | AC310-T3-022G/030P-B | 22 kw | 2 |  | WH1
| Solar Pump Inverter | Sherpa | PB7500H | 7.5 kw | 8 |  | WH1
| Solar Pump Inverter | Sherpa | PB11KH | 11 kw | 1 |  | WH1
| Solar Pump Inverter | Sherpa | PB3700H | 3.5 kw | 1 |  | WH1
| Solar Pump Inverter | CRI | SI30-D5-011G-R | 11 kw | 1 |  | WH1
| Solar Pump Inverter | Sherpa | SPINV-018K-3P40 | 18 kw | 7 |  | WH1
| Solar Pump Inverter | Sherpa | SPINV-022K-3P40 | 22 kw | 1 |  | WH1
| Solar Pump Inverter | JNTECH | JNP15KH | 15 kw | 2 |  | WH1
| Solar Pump Inverter | JNTECH | JNP3K7L | 2.2 kw | 1 |  | WH1
| Solar Pump Inverter | INVT | GD100-018G-4-PV | 18.5 kw | 9 |  | WH1
| Solar Pump Inverter | Sherpa | SPINV-004k-3P40 | 4 kw | 10 |  | WH1
| Solar Pump Inverter | Sherpa | SPINV-2D2K-3P16 | 2.2 kw | 9 |  | WH1
| Solar Pump Inverter | Sherpa | Sherpa-AC/DC-DSHP2D2K-2P30 | 2.2 kw | 2 |  | WH1
| Solar Pump Inverter | Sherpa | SPINV-3D7K1P22 | 3.7 kw | 1 |  | WH1
| Solar Pump Inverter | INVT | SPC-7K5TR46-H | 7.5 kw | 1 |  | WH1
| Solar Pump Inverter | Sherpa | PP100-3R2-PV | 3.2 kw | 11 |  | WH1
| Solar Pump Inverter | Sherpa | SPINV-1D5K-3P16 | 3.5 kw | 4 |  | WH1
| Solar Pump Inverter | Sherpa | SPINV-1D5K-3P11 | 1.5 kw | 12 |  | WH1
| Solar Pump Inverter | Sherpa | SPINV-1D5K-1P22 | 1.5 kw | 3 |  | WH1
| Solar Pump Inverter | Sherpa | SPINV-030K-3P40 | 30 kw | 28 |  | WH1
| Hybrid Inverter | Sherpa Hybrid TBB | P/N:92801-003 | 3.2 kw | 5 |  | WH1
| Hybrid Inverter | Sherpa Hybrid TBB | P/N:92801-001 | 8 kw | 7 |  | WH1
| Hybrid Inverter | Sherpa Hybrid TBB | P/N:92801-009 | 2 kw | 5 |  | WH1
| Hybrid Inverter | Sherpa Hybrid TBB | P/N:92801-007 | 3 kw | 6 |  | WH1
| Power Inverter | TBB | CPI1500M | 1.5 kw | 3 |  | WH1
| Power Inverter | TBB | CPI2000S | 2 kw | 1 |  | WH1
| Power Inverter | INVT | BPD1K5TNAC | 1.5 kw | 5 |  | WH1
| Power Inverter | INVT | IMARS MG1K5TL | 1.5 kw | 1 |  | WH1
| Power Inverter | INVT | IMARS MG1KTL | 1 kw | 1 |  | WH1
| Power Inverter | INVT | BPD 2K2TNSE | 2.2 kw | 1 |  | WH1
| Power Inverter | INVT | BPD 1K1TNAC | 1.1 kw | 5 |  | WH1
| Power Inverter | INVT | IMARS MG750TL | 0.75 kw | 2 |  | WH1
| Power Inverter | INVT | BPD 0K7TNAC | 0.75 kw | 1 |  | WH1
| Inverter Charger Combination | TBB | P/N90801-046 | 2.5 kw | 1 |  | WH1
| Solar Pump Controller | Shakti | Amitabh 1 | 0.75 kw | 1 |  | WH1
| Solar Pump Controller | Shakti | Amitabh 1 | .37 kw | 1 |  | WH1
| VFD | Veichi | AC310-T/S2-5R5G-B | 5.5 kw | 1 |  | WH1
| Vfd | Abb | Acs355-03e-17a6-2+ns27 | 3kw | 3 |  | WH1
| Vfd | Abb | Acs355-03e-23a1-4+n827 | 7.7kw | 2 |  | WH1
| VFD | INVT | CHF100A-1R5G-4RS485 | 1.5 kw | 5 |  | WH1
| VFD | INVT | CVI9100-G1RST4 | 1.5 kw | 2 |  | WH1
| VFD | INVT | CHF100A-5R5G/7R5P-4 | 5.5 kw/ 7.5 kw | 2 |  | WH1
| VFD | VNT Technology | V5-H-2T1.5C-14 | 1.5 kw | 1 |  | WH1
| VFD | DELEXI | CDI9100-G2R2-T4 | 2.2 kw | 1 |  | WH1
| VFD | DELEXI | CDI9100-G0R75T4 | .75 kw | 1 |  | WH1
| Power Inverter | Pure Sine Wave | DC48V | 2.4 kw | 6 |  | WH1
| Power Inverter (Hybrid) | TBB | P/N: 92801-002 | 6KW | 5 |  | WH1
| Solar Pump Controller | Sherpa(Freecon) | SPINV-003K-31P20 | 3KW | 5 |  | WH1
| Solar Pump Controller | Sherpa(Freecon) | SPINV-7D5K3P40 | 7.5KW | 1 |  | WH1
| Solar Pump Controller | Freecon | PV580-4T-011-H | 11KW | 1 |  | WH1
| Solar Pump Controller | Sherpa(Freecon) | SPINV-015K-3P40 | 15KW | 1 |  | WH1
| Solar Pump Controller | Sherpa(Freecon) | SPINV-011K-3P40 | 11KW | 2 |  | WH1
| Solar Pump Controller | Sherpa(Freecon) | SPINV-2D2K-3P17 | 2.2KW | 1 |  | WH1
| Solar Pump Controller | INVT | GD100-030G-4PV | 30 kw | 9 |  | WH1
| Solar Pump Controller | Sherpa(Freecon) | SPINV-0D7KVI-31P23 | 0.75 kw | 2 |  | WH1
| Solar Pump Controller | Sherpa(Freecon) | SPINV-1D5k-3P11 | 1.5 kw | 1 |  | WH1
| Solar Pump Controller | Sherpa(Freecon) | SPINV-2D2kVI31P23 | 2.2 kw | 1 |  | WH1
| MPPT Charge Controller | Sherpa(TBB) | P/N:91001-009 | 24V/48VDC120A | 2 |  | WH1
| MPPT Charge Controller | Sherpa(TBB) | P/N:91001-006F | 48VDC70A | 1 |  | WH1
| MPPT Charge Controller | Sherpa(TBB) | P/N:91001-006 | 24/48VDC70A | 1 |  | WH1
| Solar Charge Controller | ROHS | ML4860 | 12/24/36/48VDC60A | 5 |  | WH1
| Solar Charge Controller | SolarMate | SP60-150 | 12/24/48VDC60A | 5 |  | WH1
| Power Inverter (Hybrid) | Sherpa (TBB) | CH4.0S 48VDC | 4 kw | 1 |  | WH1
| Home system solar charge controller | SRNE | MC4870N25 | 12/24/36/48/VAUTO | 3 |  | WH1
| Home system solar charge controller | SRNE | HP2440 | 12/24/AUTO 40A | 86 |  | WH1
| Home system solar charge controller | SRNE | 51 | 12/24/AUTO 30A | 50 |  | WH1
| Home system solar charge controller | SRNE | HP2450 | 12/24/AUTO 50A | 6 |  | WH1
| Home system solar charge controller | SRNE | SHINAR4820-B | 12/24/36/48/AUTO 20A | 8 |  | WH1
| Home system solar charge controller | Sherpa | SSCC-10A-12D | 12VDC 10A | 624 |  | WH1
| MCCB | C&S Electric | CSE1M | 80A | 49 |  | WH1
| MCCB | Chint | NM1-225S/3300 | 250A | 120 |  | WH1
| MCCB | Chint | NM8-125 | 32A | 17 |  | WH1
| MCCB | Chint | NM8-125 | 20A | 3 |  | WH1
| MCCB | Chint | NM8-125 | 16A | 3 |  | WH1
| MCCB | Chint | NM8-125 | 50A | 3 |  | WH1
| MCCB | Chint | NM8-125 | 63A | 3 |  | WH1
| MCCB | C&S Electric | CSC2N3-75A | 75A | 1 |  | WH1
| MCCB | Chint | NM1-125C/3300 | 100A | 1 |  | WH1
| MCCB | Chint | NM1-63S/3300 | 50A | 2 |  | WH1
| MCCB | Chint | NM1-63S/3300 | 25A | 1 |  | WH1
| MCCB | Chint | NM1-63S/3300 | 63A | 1 |  | WH1
| DC MCB | C&S Electric | CSMBS2DC40 | DC40 | 117 |  | WH1
| DC MCB | C&S Electric | CSMBS1DC16 | DC16 | 180 |  | WH1
| DC MCB | C&S Electric | CSMBS2DC32 | DC32 | 241 |  | WH1
| DC MCB | C&S Electric | CSMVS2DC10 | DC10 | 70 |  | WH1
| DC MCB | Suntree | SL763-63 | 63A | 104 |  | WH1
| DC MCB | Suntree | SL7-63-NPDC550V | 50A | 50 |  | WH1
| MCB | Chint | Standard.iec/en60898-1 | 40A | 393 |  | WH1
| MCB | Chint | Standard.iec/en60898-1 | 63A | 468 |  | WH1
| MCB | Chint | Standard.iec/en60898-1 | 32A | 39 |  | WH1
| MCB | Chint | Standard.iec/en60898-1 | 10A | 78 |  | WH1
| MCB | Chint | Standard.iec/en60898-1 | 50A | 708 |  | WH1
| MCB | Chint | NXB-63 1P | 63A | 24 |  | WH1
| MCB | C&S Electric | CSMBS2ISO80 | 80A ISO80 | 8 |  | WH1
| MCB | C&S Electric | CSMBS2C63 | 10KA | 2 |  | WH1
| MCB | C&S Electric | CSCOS2P32A | 32A | 1 |  | WH1
| ACB | Chint | F4-20 | 10A | 141 |  | WH1
| ACB | Chint | F4-11 | 10A | 111 |  | WH1
| MCCB | C&S Electric | CSE1M125ATM3P-80A | 80A | 2 |  | WH1
| AC Contactor | Chint | NC1-8011 | 220V 50Hz | 42 |  | WH1
| AC Contactor | Chint | NC2-500 | 220v 50Hz | 1 |  | WH1
| AC Contactor | Chint | NC2 | 220V 50Hz | 8 |  | WH1
| Thermal Overload Relay TOR | Chint | NR2-25 | 25A | 58 |  | WH1
| Thermal Overload Relay TOR | Chint | NR2-25 | 18A | 44 |  | WH1
| Thermal Overload Relay TOR | Chint | NR2-25 | 13A | 30 |  | WH1
| Thermal Overload Relay TOR | Chint | NR2-36 | 36A | 12 |  | WH1
| Thermal Overload Relay TOR | Chint | NR2-93 | 70A | 15 |  | WH1
| Thermal Overload Relay TOR | Chint | NR2-93 | 65A | 12 |  | WH1
| Thermal Overload Relay TOR | Chint | NR2-25 | 2A | 5 |  | WH1
| Thermal Overload Relay TOR | Chint | NR2-36 | 32A | 1 |  | WH1
| Thermal Overload Relay TOR | Chint | NR2-93 | 50A | 5 |  | WH1
| DC MCB | Suntree | WH1 | 63A | 108 |  | WH1
| DC MCB | C&S Electric | CSMBS2ISO80 | 80A | 204 | Circuit Breaker | WH1
| DC MCB | C&S Electric | CSMBS2DC63 | 63A | 90 |  | WH1
| SPD | PROSURGE | PV40-68 | 100VDC | 50 |  | WH1
| AC SPD | Phoenix Contacts | VAL-MS | 335V AC | 34 |  | WH1
| Rectifier Diode Module | Suntree | MDK55A/1800B | 5055A 1800V | 50 |  | WH1
| Grid Inverter Solar | SOLAX | X3-MGA-50K-G2(L) | 50 Kw | 2 |  | WH1
| Grid Inverter Solar | SOLAX | X3-PRO-20K-G2 | 20 Kw | 2 |  | WH1
| Grid Inverter Solar | SOLAX | X3-MIC-15K-G2 | 15 kw | 2 |  | WH1
| Submersible Pump Controller | CRI | Model: 214921 | 3.7 Kw | 6 |  | WH1
| FUSE Holder | EATON | CHPV1IU | 1000VDC 30A | 960 |  | WH1
| Big Volume Sprinkler | Komet | Irrigation System Accessory | 15 kg | 1 |  | WH1
| Electric Smart Control Panel | CRI | GACM-22-15T | 1.5 kw | 5 |  | WH1
| Electric Smart Control Panel | CRI | GACM-54/11T | 1.1 kw | 9 |  | WH1
| Solar Pump Controller | Sherpa | SPMDAC-9000-10-100 | 380V 16A | 1 |  | WH1
| Solar Pump Controller | Sherpa | SPMDAC-9000-10-100 | 415V 16A | 1 |  | WH1
| Solar Pump Controller | Sherpa | SPBHDC-10000-30-33 | 415V 17A | 1 |  | WH1
| Solar Pump Controller | Sherpa | SPMBAC-1800-10-100 | 120V 12A | 1 |  | WH1
| Solar Pump Controller | Sherpa | SPBHAC-1800-20-50 | 120V 12A | 1 |  | WH1
| Solar Pump Controller | Sherpa | SPBHDC-3000-20-55 | 180V 12A | 1 |  | WH1
| Solar Pump Controller | Sherpa | SPMBDC-1800-10-110 | 120V 12A | 1 |  | WH1
| PV Combiner Box | Veichi | SI-CD-04 | Accessories | 10 |  | WH1
| APFC | Sycon | SYCON5512SS | Accessories | 21 |  | WH1
| APFC | Sycon | SYCON5506SS | Accessories | 34 |  | WH1
| APFC | Sycon | SYCON6606SS | Accessories | 15 |  | WH1
| APFC | Sycon | SYCON6612SS | Accessories | 11 |  | WH1
| APFC | Sycon | SYCON5512 | Accessories | 3 |  | WH1
| APFC | Sycon | SYCON6606 | Accessories | 4 |  | WH1
| APFC | Sycon | SYCON6610 | Accessories | 1 |  | WH1
| APFC | Sycon | SYCON6608 | Accessories | 1 |  | WH1
| APFC | Sycon | SYCON9920 | Accessories | 5 |  | WH1
| APFC | Sycon | SYCON9910 | Accessories | 5 |  | WH1
| MMR | Sycon | SYCON2110 | Accessories | 5 |  | WH1
| VIFPF | Sycon | SYCON9991 | Accessories | 10 |  | WH1
| MFM | Sycon | SYCON9900H | Accessories | 10 |  | WH1
| APFC | Sycon | SYCON5506 | Accessories | 1 |  | WH1
| APFC | Sycon | SYCON5510SS | Accessories | 2 |  | WH1
| APFC | Sycon | SYCON5503 | Accessories | 1 |  | WH1
| APFC | Sycon | SYCON6614 | Accessories | 1 |  | WH1
| APFC | Sycon | SYCON6614SS | Accessories | 5 |  | WH1
| APFC | Sycon | SYCON5504 | Accessories | 2 |  | WH1
| APFC | Sycon | SYCON2220 | Accessories | 2 |  | WH1
| APFC | Sycon | SYCON5516SS | Accessories | 4 |  | WH1
| APFC | Sycon | SYCON5514SS | Accessories | 4 |  | WH1
| APFC | Sycon | SYCON6612 | Accessories | 2 |  | WH1
| Hybrid Inverter | INVT | IMARSBG25KTR | 25kva | 2 |  | WH1
| Solar Pump Inverter | JNTECH | JNP22KH | 22Kw | 1 |  | WH1
| Control Panel | Shakti |  | 3hp 5hp 220V | 18 |  | WH1
| Pump Inverter | INVT | CHF100A-075G/110P-4 RS485PORT | 75kw | 1 |  | WH1
| Pump Inverter | INVT | CHF100A-090G/110P-4 RS485PORT | 90kw | 1 |  | WH1
| Pump Inverter | INVT | CHF100A-160G/185P-4 | 160kw | 1 |  | WH1
| Solar Submersible Pump Motor | LEO | 6XRS30/4-4 | 4kw 5.5hp 46m Head | 6 |  | WH1
| Solar Submersible Pump Motor | LEO | 6XRS60/2-4 | 4kw 5.5hp 28m Head | 12 |  | WH1
| Surface Pump | Fancy | FW 100-125/40 | 4kw 5.5hp 380v 50hz | 18
| Surface Pump | Fancy | FHM6C | 1.1kw 1.5hp 220v 50hz | 20
| Surface Pump | Fancy | FHM6V | 1.5kw 2hp 220v 50hz | 19
| Surface Pump | Fancy | CDLFM2-22 | 2.2kw 3hp 220v 5hz | 2
| Surface Pump | Fancy | CDLF4-22 | 4kw 5.5hp 380v | 2
| Surface Pump | Fancy | FVCM4-11 | 3kw 4hp 220v | 2
| Surface Pump | Fancy | CDL4-16 | 3kw 4hp 380v 50hz | 2
| Surface Pump | Fancy | CDLFM2-15 | 1.5kw 2ho 220v 50hz | 2
| Surface Pump | Fancy | CDLFM2-11 | 1.1kw 1.5hp 220v 50hz | 2
| Surface Pump | Fancy | FST 40-200/55 | 5.5kw 7.5hp 380v 50hz | 2
| Surface Pump | Fancy | FST 50-160/75 | 7.5kw 10hp 380v 50hz | 1
| Surface Pump | Fancy | FTD 100-15/2 | 4kw 5.5hp 380v 50hz | 2
| Surface Pump | Fancy | FVLM2-8 | 1.5kw 2hp 220v 50hz | 4
| Surface Pump | Fancy | FCM170M | 1.1hw 1.5hp 220v 50hz | 10
| Surface Pump | Fancy | FJWM10m | 0.75kw 1hp 220v 50hz | 15
| Surface Pump | Fancy | F2CM25/140M | 1.5kw 2hp 220v 50hz | 10
| Surface Pump | Fancy | FJWM3CL | 1.1kw 1.5hp 220v 50hz | 10
| Surface Pump | Fancy | F2CM32/160A | 2.2kw 3hp 220v 50hz | 10
| Surface Pump | Fancy | FCM25/160A | 1.5kw 2hp 220v 50hz | 10
| Surface Pump | Fancy | FHM5B | 0.75kw 1hp 220v 50hz | 15
| Surface Pump | Fancy | QV60 | 0.37kw 0.5hp 220v 50hz | 11
| Surface Pump | Fancy | FCM158 | 0.75kw 1hp 220v 50hz | 4
| Flowmeter | Sherpa | Dn150 | Accessories | 116
| Centrifugal monoblock pumpsets | waterman | 22mbc1.0 sp exp | 0.75kw 1hp 240v | 9
| submursible pumpset | CRI | L3p-4/09g-03n | 0.37kw 1ph 230v 50hz (1.25 inch outlet) | 57
| peripheral end suction pumps | CRI | pem-3ne | 0.37kw 1ph 230v 50hz | 44
| submursible pumpset | CRI | l3p-4/06g-02n | 0.25kw 1ph 230v 50hz (1.25 inch outlet) | 65
| waterfilled rewindable motor | Sherpa | spbhdc-4200-30-26 | 3kw 4hp 3ph 200v | 10
| waterfilled rewindable motor | Sherpa | spbhdc-2200-30-36 | 1.5kw 2hp 3ph 115v | 2
| waterfilled rewindable motor | Sherpa | spbhdc-5200-30-29 | 3.7kw 5hp 3ph 230v | 2
| submursible pumpset | CRI | L3p-2e/21g-07n | .75kw 1ph 230v 50hz (1inch outlet) | 17
| Centrifugal monoblock pumpsets | waterman | 33mbc1.0 sp exp | .75kw 1hp 240v | 8
| Centrifugal monoblock pumpsets | CRI | ACM60n | 0.37kw 0.5hp 240v 50hz 1ph | 9
| Centrifugal monoblock pumpsets | CRI | ACM-42 | 1.1kw 1.5hp 1ph 230v 50hz | 53
| Centrifugal monoblock pumpsets | CRI | ACM-40s | 0.75kw 1hp 1ph 230v | 152
| Centrifugal monoset pump | CRI | ACM-42 (AF) | 1.1kw 1.5hp 230v 50hz 1ph | 35
| Self priming jet pump | CRI | JTB-3/10m | 0.75kw 1ph 230v 50hz | 181
| Centrifugal monoblock pumpsets | CRI | ACM-40s (Lv) | 0.75kw 1hp 160v 1ph 50hz | 10
| Centrifugal monoblock pumpsets | CRI | GACM-54/11T | 1.1kw 1.5hp 3ph | 10
| Centrifugal monoblock pumpsets | CRI | GACM-22/15T | 1.5kw 2hp 3ph | 7
| Centrifugal monoset pump | CRI | ACM-64 | 2.2kw 3hp 230v 1ph | 49
| Centrifugal pump Vertical inline | CRI | CCW100-200 | 7.5kw 10hp 3ph | 2
| submursible motor | Sherpa | SPBHDC-10000-20-55 | 7.5kw 10hp 3ph | 4
| submursible pumpset | CRI | L3p-4/09g-02n | 0.25kw 1ph (1.25 inch outlet) | 65
| submursible pumpset | Sherpa | SPBHDC-7500-20-55 | 5.5kw 7.5hp 3ph | 1
| submursible pumpset | Sherpa | SPBHDC-7500-30-36 | 5.5kw 7.5hp 3ph | 3
| submursible pumpset | Sherpa (LEO) | SPBHDC-1200-30-40 | .75kw 1hp 3ph | 10
| submursible pumpset | Sherpa (LEO) | SPBHDC-2200-100-14 | 1.5kw 2hp 3ph | 4
| submursible pumpset | CRI | S6s-17/03-4 | 2.2kw 3hp 3ph | 3
| submursible pumpset | CRI | s6s-30/03 | 3kw 4hp 3ph | 5
| submursible pumpset | CRI | s6s-30/04 | 4kw 3ph | 1
| Centrifugal monoblock pump | Amrut | 1spmb8680x80 | 0.75kw 1hp | 2
| Solar pump controller | Freecon | pv580-4t/018-h | 18.5kw AC 3ph 380-480V , DC 600-850V 55a | 2
| Submursible pumpset with motor | Amrut | 3swdss30/2 | 3hp | 2
| Submursible pumpset with motor | Amrut | 5swdss60/2 | 5hp | 2
| Submursible pumpset with motor | Amrut | 4swdss46/2 | 4hp | 2
| Submursible pumpset with motor | Sherpa (LEO) | SPVHDC-4200/30/26 | 3kw 4hp 3ph 230v (delivery 3.5 inch ) | 2
| Submursible pumpset with motor | Sherpa (LEO) | SPVSAC-3000-20-50 | 2.2kw 3hp 3ph 180v (2.5inch delivery) | 2
| Centrifugal monoblock pump | Waterman | 44mbc3.0spexp | 2.2kw 3hp 240v | 5
| Centrifugal Monoblock Pump | Waterman | 33mbc1.5spexp | 1.1kw 1.5hp 250v | 2
| Centrifugal Monoblock Pump | CRI | ACM-54 | 1.1kw 1.5hp 220v 1Ph | 3
| Submersible Pump Motor Set | LEO | 6LPY36-38-200-2200 | 2.2kw 210-365V 15A 38m | 2
| Monoblock Pump | Sherpa | SPMBAC-9000-10-100 | 7.5kw 10hp 3p | 1
| Monoblock Pump | Sherpa | SPMBDC-9000-10-110 | 7.5kw 10hp 3p | 1
| Monoblock Pump | Sherpa | SPMBDC-3000-20-55 | 2.2kw 3hp 3p | 4
| Monoblock Pump | Sherpa | SPMBAC-3000 | 2.2kw 3hp 3p | 1
| Monoblock Pump | Sherpa | SPMBAC-1800-10-100 | 1.5kw 2hp | 1
| Submersible Motor | CRI | W6A-30T | 3kw 4hp 3p | 5
| Submersible Motor | CRI | W6A-40T | 4kw 5.5hp 50hz | 1
| Submersible Motor | Ziran Tec | PVC-80/180/CM-40-2-2 | 4kw 50hz | 1

## Read Me
Sherpa Power Engineering — Inventory Workbook
How to update the website catalog:
1. Edit the 'Inventory' sheet directly — add, remove, or update rows.
2. Keep the header row and column order exactly as-is; the site matches columns by name.
3. File -> Save As / Download -> Comma Separated Values (.csv).
4. Name the file 'inventory.csv' and replace the one in the site's /data folder.
5. Refresh the site — it re-reads the CSV on every page load, no code changes needed.
Notes on columns:
- 'Sl No' can be left blank; the site auto-numbers rows (SKU-001, SKU-002, ...) in sheet order.
- 'Remarks' is kept here for your own reference (datasheet links, etc.) but is ignored by the website.
- 'Prices' is read as Taka (BDT). Leave blank to show 'N/A' on the site.
- 'TWP' (Total Watt Peak), when numeric, is used as the primary rating for solar panels;
other categories fall back to parsing 'Power/Capacity' (e.g. '5.5kw', '30A').